## without_protection
distance in mm |  | sensor 1 | [9 empty] | sensor 2 | [9 empty] | distance in mm |  | sensor 3 | [9 empty] | sensor 4 | [9 empty] | distance in mm
measured | real | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | measured | real | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | measured | real
5 | 8.44 | 3 | 4 | 5 | 4 | 4 | 3 | 5 | 0.70711 | 4 | 4.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.44 | 5 | 8.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.44 | 5 | 8.44
10 | 13.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.44 | 10 | 13.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.44 | 10 | 13.44
15 | 18.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.44 | 15 | 18.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.44 | 15 | 18.44
20 | 23.44 | 19 | 19 | 20 | 18 | 18 | 18 | 20 | 0.83666 | 18.8 | 4.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.44 | 20 | 23.44 | 7 | 7 | 8 | 6 | 6 | 6 | 8 | 0.83666 | 6.8 | 16.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.44 | 20 | 23.44
25 | 28.44 | 25 | 26 | 26 | 28 | 27 | 25 | 28 | 1.1402 | 26.4 | 2.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.44 | 25 | 28.44 | 11 | 14 | 14 | 12 | 11 | 11 | 14 | 1.5166 | 12.4 | 16.04 | 34 | 36 | 37 | 34 | 35 | 34 | 37 | 1.3038 | 35.2 | 6.76 | 25 | 28.44
30 | 33.44 | 34 | 36 | 18 | 16 | 36 | 16 | 36 | 10.0995 | 28 | 5.44 | 22 | 22 | 19 | 20 | 22 | 19 | 22 | 1.4142 | 21 | 12.44 | 30 | 33.44 | 26 | 16 | 16 | 24 | 24 | 16 | 26 | 4.8166 | 21.2 | 12.24 | 42 | 44 | 44 | 44 | 42 | 42 | 44 | 1.0954 | 43.2 | 9.76 | 30 | 33.44
35 | 38.44 | 42 | 28 | 27 | 43 | 45 | 27 | 45 | 8.7464 | 37 | 1.44 | 26 | 26 | 26 | 24 | 26 | 24 | 26 | 0.89443 | 25.6 | 12.84 | 35 | 38.44 | 32 | 14 | 12 | 32 | 32 | 12 | 32 | 10.4307 | 24.4 | 14.04 | 48 | 48 | 50 | 50 | 49 | 48 | 50 | 1 | 49 | 10.56 | 35 | 38.44
40 | 43.44 | 40 | 40 | 40 | 40 | 41 | 40 | 41 | 0.44721 | 40.2 | 3.24 | 20 | 37 | 21 | 20 | 19 | 19 | 37 | 7.6354 | 23.4 | 20.04 | 40 | 43.44 | 19 | 20 | 39 | 40 | 14 | 14 | 40 | 12.1778 | 26.4 | 17.04 | 56 | 31 | 58 | 31 | 57 | 31 | 58 | 14.2583 | 46.6 | 3.16 | 40 | 43.44
45 | 48.44 | 37 | 38 | 38 | 39 | 40 | 37 | 40 | 1.1402 | 38.4 | 10.04 | 27 | 27 | 25 | 26 | 27 | 25 | 27 | 0.89443 | 26.4 | 22.04 | 45 | 48.44 | 19 | 19 | 30 | 31 | 45 | 19 | 45 | 10.7331 | 28.8 | 19.64 | 35 | 35 | 64 | 64 | 35 | 35 | 64 | 15.884 | 46.6 | 1.84 | 45 | 48.44
50 | 53.44 | 43 | 43 | 48 | 46 | 44 | 43 | 48 | 2.1679 | 44.8 | 8.64 | 36 | 41 | 39 | 37 | 35 | 35 | 41 | 2.4083 | 37.6 | 15.84 | 50 | 53.44 | 33 | 34 | 37 | 33 | 34 | 33 | 37 | 1.6432 | 34.2 | 19.24 | 59 | 59 | 46 | 48 | 52 | 46 | 59 | 6.0581 | 52.8 | 0.64 | 50 | 53.44
60 | 63.44 | 56 | 57 | 59 | 56 | 57 | 56 | 59 | 1.2247 | 57 | 6.44 | 62 | 59 | 59 | 58 | 58 | 58 | 62 | 1.6432 | 59.2 | 4.24 | 60 | 63.44 | 42 | 38 | 37 | 38 | 38 | 37 | 42 | 1.9494 | 38.6 | 24.84 | 57 | 57 | 55 | 57 | 57 | 55 | 57 | 0.89443 | 56.6 | 6.84 | 60 | 63.44
70 | 73.44 | 66 | 68 | 66 | 64 | 65 | 64 | 68 | 1.4832 | 65.8 | 7.64 | 65 | 65 | 65 | 69 | 62 | 62 | 69 | 2.49 | 65.2 | 8.24 | 70 | 73.44 | 38 | 33 | 42 | 27 | 37 | 27 | 42 | 5.6833 | 35.4 | 38.04 | 75 | 77 | 82 | 79 | 79 | 75 | 82 | 2.6077 | 78.4 | 4.96 | 70 | 73.44
80 | 83.44 | 74 | 74 | 73 | 72 | 75 | 72 | 75 | 1.1402 | 73.6 | 9.84 | 89 | 86 | 81 | 79 | 74 | 74 | 89 | 5.8907 | 81.8 | 1.64 | 80 | 83.44 | 68 | 59 | 58 | 63 | 67 | 58 | 68 | 4.5277 | 63 | 20.44 | 78 | 79 | 79 | 79 | 78 | 78 | 79 | 0.54772 | 78.6 | 4.84 | 80 | 83.44
90 | 93.44 | 82 | 82 | 83 | 80 | 82 | 80 | 83 | 1.0954 | 81.8 | 11.64 | 85 | 86 | 87 | 82 | 86 | 82 | 87 | 1.9235 | 85.2 | 8.24 | 90 | 93.44 | 74 | 74 | 60 | 66 | 64 | 60 | 74 | 6.229 | 67.6 | 25.84 | 87 | 83 | 81 | 86 | 85 | 81 | 87 | 2.4083 | 84.4 | 9.04 | 90 | 93.44
100 | 103.44 | 91 | 94 | 91 | 94 | 92 | 91 | 94 | 1.5166 | 92.4 | 11.04 | 91 | 91 | 87 | 89 | 91 | 87 | 91 | 1.7889 | 89.8 | 13.64 | 100 | 103.44 | 72 | 75 | 89 | 82 | 96 | 72 | 96 | 9.8843 | 82.8 | 20.64 | 86 | 89 | 87 | 89 | 88 | 86 | 89 | 1.3038 | 87.8 | 15.64 | 100 | 103.44
150 | 153.44 | 138 | 142 | 143 | 141 | 140 | 138 | 143 | 1.9235 | 140.8 | 12.64 | 128 | 140 | 133 | 126 | 133 | 126 | 140 | 5.4314 | 132 | 21.44 | 150 | 153.44 | 136 | 135 | 135 | 137 | 136 | 135 | 137 | 0.83666 | 135.8 | 17.64 | 143 | 121 | 142 | 142 | 122 | 121 | 143 | 11.4237 | 134 | 19.44 | 150 | 153.44
200 | 203.44 | 166 | 168 | 166 | 164 | 166 | 164 | 168 | 1.4142 | 166 | 37.44 | 183 | 184 | 184 | 186 | 183 | 183 | 186 | 1.2247 | 184 | 19.44 | 200 | 203.44 | 164 | 179 | 176 | 176 | 176 | 164 | 179 | 5.8481 | 174.2 | 29.24 | 178 | 178 | 171 | 174 | 179 | 171 | 179 | 3.3912 | 176 | 27.44 | 200 | 203.44
250 | 253.44 | 189 | 188 | 188 | 189 | 188 | 188 | 189 | 0.54772 | 188.4 | 65.04 | 208 | 210 | 209 | 208 | 208 | 208 | 210 | 0.89443 | 208.6 | 44.84 | 250 | 253.44 | 211 | 201 | 201 | 205 | 209 | 201 | 211 | 4.5607 | 205.4 | 48.04 | 199 | 108 | 105 | 205 | 207 | 105 | 207 | 53.3123 | 164.8 | 88.64 | 250 | 253.44
300 | 303.44 | 221 | 217 | 217 | 219 | 217 | 217 | 221 | 1.7889 | 218.2 | 85.24 | 255 | 246 | 248 | 248 | 246 | 246 | 255 | 3.7148 | 248.6 | 54.84 | 300 | 303.44 | 235 | 235 | 232 | 233 | 237 | 232 | 237 | 1.9494 | 234.4 | 69.04 | 237 | 243 | 246 | 237 | 245 | 237 | 246 | 4.3359 | 241.6 | 61.84 | 300 | 303.44
350 | 353.44 | 257 | 261 | 259 | 259 | 256 | 256 | 261 | 1.9494 | 258.4 | 95.04 | 292 | 275 | 293 | 282 | 260 | 260 | 293 | 13.6125 | 280.4 | 73.04 | 350 | 353.44 | 253 | 254 | 246 | 249 | 252 | 246 | 254 | 3.2711 | 250.8 | 102.64 | 251 | 257 | 246 | 250 | 251 | 246 | 257 | 3.937 | 251 | 102.44 | 350 | 353.44
400 | 403.44 | 225 | 228 | 227 | 227 | 222 | 222 | 228 | 2.3875 | 225.8 | 177.64 | 285 | 286 | 286 | 282 | 280 | 280 | 286 | 2.6833 | 283.8 | 119.64 | 400 | 403.44 | 246 | 243 | 236 | 268 | 262 | 236 | 268 | 13.4536 | 251 | 152.44 | 235 | 232 | 233 | 235 | 231 | 231 | 235 | 1.7889 | 233.2 | 170.24 | 400 | 403.44
450 | 453.44 | 280 | 277 | 278 | 282 | 278 | 277 | 282 | 2 | 279 | 174.44 | 263 | 262 | 266 | 265 | 263 | 262 | 266 | 1.6432 | 263.8 | 189.64 | 450 | 453.44 | 256 | 255 | 257 | 256 | 257 | 255 | 257 | 0.83666 | 256.2 | 197.24 | 245 | 231 | 230 | 228 | 229 | 228 | 245 | 7.0214 | 232.6 | 220.84 | 450 | 453.44
500 | 503.44 | 319 | 307 | 298 | 297 | 297 | 297 | 319 | 9.5812 | 303.6 | 199.84 | 295 | 307 | 297 | 293 | 291 | 291 | 307 | 6.229 | 296.6 | 206.84 | 500 | 503.44 | 254 | 258 | 258 | 256 | 261 | 254 | 261 | 2.6077 | 257.4 | 246.04 | 223 | 226 | 233 | 226 | 221 | 221 | 233 | 4.5497 | 225.8 | 277.64 | 500 | 503.44
offset | 3.44

## with_protection
distance in mm |  | sensor 1 | [9 empty] | sensor 2 | [9 empty] | distance in mm |  | sensor 3 | [9 empty] | sensor 4 | [9 empty] | distance in mm
measured | real | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | measured | real | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error | measured | real
5 | 8.44 | 34 | 34 | 32 | 34 | 33 | 32 | 34 | 0.89443 | 33.4 | 24.96 | 41 | 39 | 40 | 39 | 40 | 39 | 41 | 0.83666 | 39.8 | 31.36 | 5 | 8.44 | 27 | 27 | 27 | 27 | 28 | 27 | 28 | 0.44721 | 27.2 | 18.76 | 12 | 12 | 11 | 11 | 10 | 10 | 12 | 0.83666 | 11.2 | 2.76 | 5 | 8.44
10 | 13.44 | 33 | 33 | 33 | 32 | 33 | 32 | 33 | 0.44721 | 32.8 | 19.36 | 34 | 34 | 34 | 33 | 34 | 33 | 34 | 0.44721 | 33.8 | 20.36 | 10 | 13.44 | 20 | 19 | 20 | 19 | 19 | 19 | 20 | 0.54772 | 19.4 | 5.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.44 | 10 | 13.44
15 | 18.44 | 34 | 34 | 35 | 33 | 32 | 32 | 35 | 1.1402 | 33.6 | 15.16 | 28 | 29 | 28 | 27 | 28 | 27 | 29 | 0.70711 | 28 | 9.56 | 15 | 18.44 | 26 | 27 | 26 | 26 | 25 | 25 | 27 | 0.70711 | 26 | 7.56 | 12 | 12 | 10 | 11 | 11 | 10 | 12 | 0.83666 | 11.2 | 7.24 | 15 | 18.44
20 | 23.44 | 33 | 34 | 35 | 33 | 35 | 33 | 35 | 1 | 34 | 10.56 | 32 | 35 | 35 | 33 | 35 | 32 | 35 | 1.4142 | 34 | 10.56 | 20 | 23.44 | 22 | 23 | 22 | 24 | 23 | 22 | 24 | 0.83666 | 22.8 | 0.64 | 42 | 41 | 44 | 44 | 44 | 41 | 44 | 1.4142 | 43 | 19.56 | 20 | 23.44
25 | 28.44 | 18 | 18 | 18 | 18 | 20 | 18 | 20 | 0.89443 | 18.4 | 10.04 | 39 | 40 | 39 | 39 | 40 | 39 | 40 | 0.54772 | 39.4 | 10.96 | 25 | 28.44 | 30 | 31 | 29 | 30 | 30 | 29 | 31 | 0.70711 | 30 | 1.56 | 51 | 53 | 52 | 52 | 53 | 51 | 53 | 0.83666 | 52.2 | 23.76 | 25 | 28.44
30 | 33.44 | 28 | 27 | 27 | 27 | 29 | 27 | 29 | 0.89443 | 27.6 | 5.84 | 35 | 35 | 35 | 36 | 36 | 35 | 36 | 0.54772 | 35.4 | 1.96 | 30 | 33.44 | 36 | 32 | 37 | 37 | 32 | 32 | 37 | 2.5884 | 34.8 | 1.36 | 62 | 51 | 65 | 50 | 65 | 50 | 65 | 7.5033 | 58.6 | 25.16 | 30 | 33.44
35 | 38.44 | 21 | 22 | 20 | 21 | 22 | 20 | 22 | 0.83666 | 21.2 | 17.24 | 43 | 43 | 45 | 47 | 42 | 42 | 47 | 2 | 44 | 5.56 | 35 | 38.44 | 46 | 30 | 27 | 44 | 45 | 27 | 46 | 9.1269 | 38.4 | 0.04 | 55 | 59 | 57 | 61 | 59 | 55 | 61 | 2.2804 | 58.2 | 19.76 | 35 | 38.44
40 | 43.44 | 60 | 34 | 57 | 32 | 58 | 32 | 60 | 13.9356 | 48.2 | 4.76 | 52 | 50 | 51 | 49 | 53 | 49 | 53 | 1.5811 | 51 | 7.56 | 40 | 43.44 | 52 | 43 | 40 | 54 | 44 | 40 | 54 | 6.0663 | 46.6 | 3.16 | 36 | 76 | 75 | 38 | 37 | 36 | 76 | 21.1021 | 52.4 | 8.96 | 40 | 43.44
45 | 48.44 | 52 | 53 | 50 | 50 | 52 | 50 | 53 | 1.3416 | 51.4 | 2.96 | 52 | 52 | 46 | 45 | 54 | 45 | 54 | 4.0249 | 49.8 | 1.36 | 45 | 48.44 | 48 | 48 | 49 | 47 | 45 | 45 | 49 | 1.5166 | 47.4 | 1.04 | 76 | 35 | 72 | 35 | 71 | 35 | 76 | 20.8974 | 57.8 | 9.36 | 45 | 48.44
50 | 53.44 | 76 | 39 | 64 | 41 | 77 | 39 | 77 | 18.4472 | 59.4 | 5.96 | 62 | 62 | 61 | 60 | 60 | 60 | 62 | 1 | 61 | 7.56 | 50 | 53.44 | 55 | 55 | 56 | 55 | 56 | 55 | 56 | 0.54772 | 55.4 | 1.96 | 61 | 64 | 66 | 64 | 64 | 61 | 66 | 1.7889 | 63.8 | 10.36 | 50 | 53.44
60 | 63.44 | 58 | 59 | 59 | 57 | 56 | 56 | 59 | 1.3038 | 57.8 | 5.64 | 63 | 61 | 58 | 59 | 62 | 58 | 63 | 2.0736 | 60.6 | 2.84 | 60 | 63.44 | 69 | 67 | 70 | 72 | 69 | 67 | 72 | 1.8166 | 69.4 | 5.96 | 78 | 78 | 81 | 77 | 77 | 77 | 81 | 1.6432 | 78.2 | 14.76 | 60 | 63.44
70 | 73.44 | 76 | 76 | 72 | 75 | 75 | 72 | 76 | 1.6432 | 74.8 | 1.36 | 76 | 66 | 75 | 65 | 72 | 65 | 76 | 5.0695 | 70.8 | 2.64 | 70 | 73.44 | 79 | 83 | 72 | 77 | 77 | 72 | 83 | 3.9749 | 77.6 | 4.16 | 81 | 82 | 84 | 85 | 82 | 81 | 85 | 1.6432 | 82.8 | 9.36 | 70 | 73.44
80 | 83.44 | 82 | 83 | 82 | 79 | 82 | 79 | 83 | 1.5166 | 81.6 | 1.84 | 80 | 77 | 81 | 80 | 75 | 75 | 81 | 2.51 | 78.6 | 4.84 | 80 | 83.44 | 66 | 78 | 85 | 83 | 76 | 66 | 85 | 7.4364 | 77.6 | 5.84 | 99 | 96 | 97 | 98 | 98 | 96 | 99 | 1.1402 | 97.6 | 14.16 | 80 | 83.44
90 | 93.44 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 0 | 91 | 2.44 | 87 | 85 | 85 | 85 | 85 | 85 | 87 | 0.89443 | 85.4 | 8.04 | 90 | 93.44 | 99 | 81 | 84 | 85 | 94 | 81 | 99 | 7.5697 | 88.6 | 4.84 | 104 | 105 | 105 | 105 | 102 | 102 | 105 | 1.3038 | 104.2 | 10.76 | 90 | 93.44
100 | 103.44 | 106 | 107 | 106 | 107 | 105 | 105 | 107 | 0.83666 | 106.2 | 2.76 | 94 | 102 | 93 | 101 | 95 | 93 | 102 | 4.1833 | 97 | 6.44 | 100 | 103.44 | 129 | 121 | 89 | 98 | 82 | 82 | 129 | 20.3642 | 103.8 | 0.36 | 120 | 118 | 120 | 120 | 116 | 116 | 120 | 1.7889 | 118.8 | 15.36 | 100 | 103.44
150 | 153.44 | 146 | 145 | 143 | 145 | 143 | 143 | 146 | 1.3416 | 144.4 | 9.04 | 141 | 141 | 149 | 148 | 152 | 141 | 152 | 4.9699 | 146.2 | 7.24 | 150 | 153.44 | 174 | 214 | 187 | 136 | 162 | 136 | 214 | 28.962 | 174.6 | 21.16 | 150 | 153 | 151 | 151 | 152 | 150 | 153 | 1.1402 | 151.4 | 2.04 | 150 | 153.44
200 | 203.44 | 174 | 174 | 178 | 179 | 177 | 174 | 179 | 2.3022 | 176.4 | 27.04 | 181 | 178 | 179 | 179 | 183 | 178 | 183 | 2 | 180 | 23.44 | 200 | 203.44 | 209 | 155 | 177 | 179 | 171 | 155 | 209 | 19.6265 | 178.2 | 25.24 | 188 | 184 | 183 | 187 | 185 | 183 | 188 | 2.0736 | 185.4 | 18.04 | 200 | 203.44
250 | 253.44 | 196 | 198 | 198 | 198 | 193 | 193 | 198 | 2.1909 | 196.6 | 56.84 | 198 | 200 | 200 | 198 | 294 | 198 | 294 | 42.4971 | 218 | 35.44 | 250 | 253.44 | 195 | 220 | 211 | 211 | 208 | 195 | 220 | 9.0277 | 209 | 44.44 | 209 | 214 | 216 | 213 | 215 | 209 | 216 | 2.7019 | 213.4 | 40.04 | 250 | 253.44
300 | 303.44 | 220 | 219 | 220 | 218 | 219 | 218 | 220 | 0.83666 | 219.2 | 84.24 | 247 | 244 | 241 | 238 | 248 | 238 | 248 | 4.1593 | 243.6 | 59.84 | 300 | 303.44 | 261 | 270 | 263 | 264 | 262 | 261 | 270 | 3.5355 | 264 | 39.44 | 240 | 243 | 243 | 244 | 245 | 240 | 245 | 1.8708 | 243 | 60.44 | 300 | 303.44
350 | 353.44 | 241 | 239 | 237 | 239 | 239 | 237 | 241 | 1.4142 | 239 | 114.44 | 281 | 274 | 276 | 277 | 279 | 274 | 281 | 2.7019 | 277.4 | 76.04 | 350 | 353.44 | 264 | 249 | 277 | 296 | 258 | 249 | 296 | 18.2948 | 268.8 | 84.64 | 252 | 247 | 246 | 251 | 249 | 246 | 252 | 2.5495 | 249 | 104.44 | 350 | 353.44
400 | 403.44 | 220 | 218 | 219 | 221 | 220 | 218 | 221 | 1.1402 | 219.6 | 183.84 | 252 | 253 | 253 | 252 | 258 | 252 | 258 | 2.51 | 253.6 | 149.84 | 400 | 403.44 | 265 | 269 | 267 | 259 | 259 | 259 | 269 | 4.6043 | 263.8 | 139.64 | 214 | 210 | 213 | 217 | 212 | 210 | 217 | 2.5884 | 213.2 | 190.24 | 400 | 403.44
450 | 453.44 | 220 | 219 | 220 | 221 | 218 | 218 | 221 | 1.1402 | 219.6 | 233.84 | 318 | 316 | 318 | 318 | 316 | 316 | 318 | 1.0954 | 317.2 | 136.24 | 450 | 453.44 | 265 | 268 | 276 | 274 | 266 | 265 | 276 | 4.9193 | 269.8 | 183.64 | 222 | 218 | 216 | 212 | 213 | 212 | 222 | 4.0249 | 216.2 | 237.24 | 450 | 453.44
500 | 503.44 | 212 | 211 | 216 | 210 | 211 | 210 | 216 | 2.3452 | 212 | 291.44 | 299 | 307 | 311 | 305 | 308 | 299 | 311 | 4.4721 | 306 | 197.44 | 500 | 503.44 | 288 | 298 | 281 | 293 | 263 | 263 | 298 | 13.6125 | 284.6 | 218.84 | 226 | 227 | 211 | 224 | 219 | 211 | 227 | 6.5803 | 221.4 | 282.04 | 500 | 503.44
offset | 3.44

## comparision_different_materials
materials | distance in mm |  | Sensor wot protextion
| measured | real | 1 | 2 | 3 | 4 | 5 | min | max | standard deviation | mean | error
dossier de chaise noir | 50 | 53.44 | 59 | 62 | 61 | 63 | 60 | 59 | 63 | 0.029587 | 61 | 14.15%
| 100 | 103.44 | 118 | 116 | 116 | 117 | 118 | 116 | 118 | 0.0096674 | 117 | 13.11%
| 150 | 153.44 | 133 | 132 | 134 | 132 | 133 | 132 | 134 | 0.0054527 | 132.8 | -13.45%
| 200 | 203.44 | 131 | 133 | 130 | 131 | 133 | 130 | 133 | 0.0065948 | 131.6 | -35.31%
| 250 | 253.44 | 134 | 135 | 134 | 136 | 133 | 133 | 136 | 0.0044988 | 134.4 | -46.97%
| 300 | 303.44 | 137 | 136 | 137 | 136 | 136 | 136 | 137 | 0.001805 | 136.4 | -55.05%
mousse de chaise verte | 50 | 53.44 | 83 | 83 | 82 | 84 | 84 | 82 | 84 | 0.015656 | 83.2 | 55.69%
| 100 | 103.44 | 130 | 130 | 128 | 128 | 126 | 126 | 130 | 0.016177 | 128.4 | 24.13%
| 150 | 153.44 | 176 | 173 | 176 | 177 | 177 | 173 | 177 | 0.010709 | 175.8 | 14.57%
| 200 | 203.44 | 190 | 191 | 187 | 189 | 186 | 186 | 191 | 0.010193 | 188.6 | -7.295%
| 250 | 253.44 | 229 | 227 | 229 | 229 | 230 | 227 | 230 | 0.0043223 | 228.8 | -9.722%
| 300 | 303.44 | 273 | 275 | 275 | 274 | 273 | 273 | 275 | 0.0032955 | 274 | -9.702%
Carton blanc | 50 | 53.44 | 72 | 72 | 71 | 72 | 73 | 71 | 73 | 0.013232 | 72 | 34.73%
| 100 | 103.44 | 126 | 125 | 124 | 124 | 122 | 122 | 126 | 0.014339 | 124.2 | 20.07%
| 150 | 153.44 | 165 | 167 | 165 | 168 | 163 | 163 | 168 | 0.012704 | 165.6 | 7.925%
| 200 | 203.44 | 184 | 186 | 184 | 185 | 187 | 184 | 187 | 0.006409 | 185.2 | -8.966%
| 250 | 253.44 | 207 | 204 | 208 | 209 | 207 | 204 | 209 | 0.0073817 | 207 | -18.32%
| 300 | 303.44 | 229 | 222 | 224 | 225 | 224 | 222 | 229 | 0.0085303 | 224.8 | -25.92%
Plastique Transparent | 50 | 53.44 | 93 | 95 | 83 | 81 | 98 | 81 | 98 | 0.14128 | 90 | 68.41%
| 100 | 103.44 | 148 | 148 | 145 | 146 | 149 | 145 | 149 | 0.015885 | 147.2 | 42.3%
| 150 | 153.44 | 200 | 196 | 202 | 197 | 199 | 196 | 202 | 0.01556 | 198.8 | 29.56%
| 200 | 203.44 | 208 | 200 | 208 | 203 | 208 | 200 | 208 | 0.01826 | 205.4 | 0.9634%
| 250 | 253.44 | 248 | 253 | 250 | 255 | 247 | 247 | 255 | 0.013264 | 250.6 | -1.121%
| 300 | 303.44 | 281 | 279 | 285 | 278 | 281 | 278 | 285 | 0.0088429 | 280.8 | -0.074611
Plastique Gris | 50 | 53.44 | 61 | 61 | 63 | 58 | 61 | 58 | 63 | 0.033474 | 60.8 | 0.13772
| 100 | 103.44 | 114 | 110 | 110 | 108 | 113 | 108 | 114 | 0.02368 | 111 | 0.073086
| 150 | 153.44 | 144 | 141 | 156 | 150 | 144 | 141 | 156 | 0.039103 | 147 | -0.041971
| 200 | 203.44 | 165 | 166 | 166 | 164 | 165 | 164 | 166 | 0.0041126 | 165.2 | -0.18797
| 250 | 253.44 | 192 | 192 | 195 | 192 | 192 | 192 | 195 | 0.0052937 | 192.6 | -0.24006
| 300 | 303.44 | 210 | 213 | 211 | 210 | 210 | 210 | 213 | 0.0042969 | 210.8 | -0.3053
| offset | 3.44